Public Lands and Building Building Maintenance Section

# Construction Proposal – Small Project

(Date)

Between the Owner: Department of Public Lands and Buildings

2 Aeolia Drive Devonshire 441-292-2500

And the Contractor:	Company Name

License Number Company Address Company Phone

For the Project:	General Construction Repairs and Painting Works St. David’s Lighthouse Properties

1 Mount Road

St. George’s DD03

Contractor proposes to furnish all labor, material and services as listed below for the above mentioned Project.

| Qty | Describe Work, Materials or Labor | Unit Price/Rate | Amount |
| --- | --- | --- | --- |
|  | Main Lighthouse Structure #0897 |  |  |
| 1. | DEMOLITION WORKS |  |  |
| 1.1 | Removal of existing metal guardrails |  |  |
| 1.2 | Grinding of all surfaces on metal deck and repairs |  |  |
| 1.3 | Removal from site |  |  |
| 1.4 | Removal of Deck Door |  |  |
| 2. | FABRICATION WORKS |  |  |
| 2.1 | Fabrication and Installation of new 3’-6” guard rail system. Guardrails to be fabricated from one of following: hot dipped galvanized, and or stainless steel tubing. All vertical bars shall be a minimum of ½ - ¾ inch square, or 1 diameter. Top rails to shall be a minimum of 1 1/8 inch wide. All anchors shall be bolted with galvanized steel and welded to |  |  |

|  | the decking. |  |  |
| --- | --- | --- | --- |
| 2.2 | Sanding, priming and painting of all metal framing and decking |  |  |
| 2.3 | Repairs and paint to all exterior metals with an approved rust inhibitor primer and repaint |  |  |
| 2.4 | Fabrication of new Viewing Deck door and latches |  |  |
| 3. | CARPENTRY WORKS |  |  |
| 3.1 | Carry out carpentry repairs to the spiral Cedar Staircase, all defective pickets, handrails, stairs treads, tread nosings, trims and all landings |  |  |
| 3.2 | Carry out carpentry repairs to all windows and penetrations in the lighthouse |  |  |
| 3.3 | Fabricate new Cedar Entry Doors and frame. Door to be fitted with a secured metal louver for cross ventilation |  |  |
| 4 | MASONRY |  |  |
| 4.1 | Carry out masonry repairs to all internal wall surrounds |  |  |
| 4.2 | Carry out masonry repairs to all exterior wall surround and landings |  |  |
| 4.3 | Sealing all penetrations through decks and exterior walls |  |  |
| 5. | PAINTING |  |  |
| 5.1 | All metal works to be painted with an approved rust primer and enamel paint |  |  |
| 5.2 | All cedar works to be scraped, defects filled with wood patch and sealed with 2 coats varnish |  |  |
| 5.3 | All internal walls to be primed to with 2 coats of Tight Plus and 2 coats of semi-gloss latex paint |  |  |
| 5.4 | All exterior walls to be finished with 2 coats of primer/sealer and 2 coats of semi-gloss high UV resistant paints |  |  |
| 6. | OTHER (Scaffolding and or High Lift Rental) |  |  |
| 6.1 | Any additional items of work not described above (please specify) |  |  |
| 6.2 | Contractor’s general requirements not included above. |  |  |
|  | Watch Tower Structure #0896 |  |  |
| 1. | DEMOLITION WORKS |  |  |
| 1.1 | Removal of existing metal guardrails and replace |  |  |
| 1.2 | Removal from site |  |  |
| 2. | FABRICATION WORKS |  |  |
| 2.1 | Fabrication and Installation of new 3’-6” guard rail system. Guardrails to be fabricated from one of following: hot dipped galvanized, and or stainless steel tubing. All vertical bars shall be a minimum of ½ - ¾ inch square, or 1 diameter. Top rails to shall be a minimum of 1 1/8 inch wide. All anchors shall be bolted with galvanized steel and welded to the decking. |  |  |

| 2.2 | Sanding, priming and painting of all metal framing |  |  |
| --- | --- | --- | --- |
| 2.3 | Repairs and paint to all exterior metals with an approved rust inhibitor primer and repaint |  |  |
| 2.4 | Inspect Ship ladders in tower and repair/replace as necessary |  |  |
| 3. | CARPENTRY WORKS |  |  |
| 3.1 | Make repairs to all clear storey windows and glazing. |  |  |
| 3.2 | Installation of new Plexiglas inserts in all clear storey penetrations |  |  |
| 3.3 | All wood shall be pressure treated hardwood for all frames |  |  |
| 3.4 | Make repairs to all shutters and door openings |  |  |
| 4 | MASONRY |  |  |
| 4.1 | Carry out structural masonry repairs to all exterior wall surrounds where the masonry is cracked and blown |  |  |
| 4.2 | Carry out masonry repairs to all internal wall surround and landings |  |  |
| 4.3 | Sealing all penetrations through decks and exterior walls |  |  |
| 4.4 | GC to fix threshold strip for entry door to eliminate the ingression of water into the structure |  |  |
| 5. | PAINTING |  |  |
| 5.1 | All metal works to be painted with an approved rust primer and enamel paint |  |  |
| 5.2 | All internal walls to be primed to with 2 coats of Tight Plus and 2 coats of semi-gloss latex paint |  |  |
| 5.3 | All external walls to be primed to with 2 coats of Tight Plus and 2 coats of semi-gloss latex paint |  |  |
| 5.4 | Roof structure shall be power washed, all cracks sealed with a masonry / tape sealer. 2 coats of elastomeric primer and 2 coats top coats. |  |  |
| 6. | OTHER (Scaffolding and or High Lift Rental) |  |  |
|  | Storage Shed #1004 |  |  |
| 1 | Roof Works |  |  |
| 1.1 | GC shall lay new membrane fabric and carry out repairs to roof as necessary |  |  |
| 1.2 | GC shall install new aluminum drip mold along roof edges |  |  |
| 2 | Window replacement |  |  |
| 2.1 | New PVC window shall be installed on West side of structure |  |  |
| 2.2 | New screens for existing window |  |  |
| 3 | Painting |  |  |
| 3.1 | All external walls to be primed to with 2 coats of Tight Plus and 2 coats of semi-gloss latex paint |  |  |
| 3.2 | All wood works to be finished in semi-gloss enamel paint |  |  |

|  | Lighthouse Cottage #0900 |  |  |
| --- | --- | --- | --- |
| 1 | Painting – Roof and Walls |  |  |
| 1.1 | Roof structure shall be power washed, all cracks sealed with a masonry / tape sealer. 2 coats of elastomeric primer and 2 coats top coats. |  |  |
| 1.2 | All blinds shall be sprayed with 1 coat of primer and 2 coats of semi-gloss enamel |  |  |
| 1.3 | All external walls shall be patched where cracks are evident and to be primed to with 2 coats of Tight Plus and 2 coats of latex paint |  |  |
| 1.4 | All woodwork shall be patched, primed and coated with 2 coats of semi-gloss enamel paint |  |  |
| 1.5 | Power wash and paint water catchment |  |  |
| 2 | Carpentry |  |  |
| 2.1 | New screen door to be installed on Front door |  |  |
| 3 | Electrical |  |  |
| 3.1 | New weatherproof outside lights to be installed on Front and Back entry way |  |  |
|  | Lighthouse Apartments #1005 |  |  |
| 1 | Painting – Roof and Walls |  |  |
| 1.1 | Roof structure shall be power washed, all cracks sealed with a masonry / tape sealer. 2 coats of elastomeric primer and 2 coats top coats. |  |  |
| 1.2 | All blinds shall be sprayed with 1 coat of primer and 2 coats of semi-gloss enamel |  |  |
| 1.3 | All external walls shall be patched where cracks are evident and to be primed to with 2 coats of Tight Plus and 2 coats of latex paint |  |  |
|  | Material Subtotal |  |  |
|  | Material Tax |  |  |
|  | Labor Subtotal |  |  |
|  | Total |  |  |

This proposal shall be valid for (number) days.

Submitted by: Company Name

Contractor	Dated